{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":2,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":802,"n_cols":9,"rows_kept":802,"cut":false,"hidden":false,"merged":[]}
["wavelength","donor emission","acceptor absorption",null,null,"Donor QY in the absence of acceptor",null,"R0"]
[200,null,null,null,null,0.97,null,6.2489463481579044,"nm"]
[201]
[202,null,null,null,null,"Index of refraction"]
[203,null,null,null,null,1.33]
[204]
[205,null,null,null,null,"k2"]
[206,null,null,null,null,{"$f":"2/3","v":0.66666666666666663}]
[207]
[208,null,null,null,null,"wavelength where molar absorption coefficient of acceptor is given"]
[209,null,null,null,null,300]
[210]
[211,null,null,null,null,{"$f":"CONCATENATE(\"Molar absorption coefficient of acceptor at \",F11,\" nm\")","v":"Molar absorption coefficient of acceptor at 300 nm"}]
[212,null,null,null,null,33260]
[213]
[214]
[215]
[216]
[217]
[218]
[219]
[220]
[221]
[222,null,null,null,null,"Written by Peter Nagy"]
[223,null,null,null,null,"University of Debrecen, Hungary"]
[224,null,null,null,null,"peter.v.nagy@gmail.com"]
[225,null,null,null,null,"https://peternagyweb.hu/ "]
[226]
[227]
[228]
[229]
[230]
[231]
[232]
[233]
[234]
[235]
[236]
[237]
[238]
[239]
[240]
[241]
[242]
[243]
[244]
[245]
[246]
[247]
[248]
[249]
[250]
[251]
[252]
[253]
[254]
[255]
[256]
[257]
[258]
[259]
[260]
[261]
[262]
[263]
[264]
[265]
[266]
[267]
[268]
[269]
[270]
[271]
[272]
[273]
[274]
[275]
[276]
[277]
[278]
[279]
[280]
[281]
[282]
[283]
[284]
[285]
[286]
[287]
[288]
[289]
[290]
[291]
[292]
[293]
[294]
[295]
[296]
[297]
[298]
[299]
[300,0,0.3058557998941579]
[301,0,0.27616879989511522]
[302,0,0.25194149989081516]
[303,0,0.23081359988175712]
[304,0,0.20974269994447067]
[305,0,0.19461199988016517]
[306,0,0.17829269987766386]
[307,0,0.16304819995239139]
[308,0,0.15696289995075263]
[309,0,0.14692509990654462]
[310,0,0.13774029995228998]
[311,0,0.13398959996215706]
[312,0,0.13288059993382234]
[313,0,0.1285583999573216]
[314,0,0.12716499995807215]
[315,0,0.12562659997145301]
[316,0,0.12429299995393041]
[317,0,0.12264089997176117]
[318,0,0.12019829992590382]
[319,0,0.11937079990919751]
[320,0,0.11792049997946459]
[321,0,0.11567409998221889]
[322,0,0.11348459991545665]
[323,0,0.1177811999532935]
[324,0,0.11604659991806271]
[325,0,0.1160721999486837]
[326,0,0.11829309996463945]
[327,0,0.11906079990766182]
[328,0,0.11814799992793873]
[329,0,0.1142835999422557]
[330,0,0.11402769996124824]
[331,0,0.11356989997043054]
[332,0,0.1142551999097224]
[333,0,0.11323149993636154]
[334,0,0.11470729993934149]
[335,0,0.1142551999097224]
[336,0,0.11331679999133543]
[337,0,0.11226469998544127]
[338,0,0.11107039999408973]
[339,0,0.10888079996995356]
[340,0,0.10825519996305751]
[341,0,0.10828079999367848]
[342,0,0.10706089997170599]
[343,0,0.10353489992813487]
[344,0,0.10307699997994324]
[345,0,9.9323509919265404E-2]
[346,0,9.5572819952457005E-2]
[347,0,9.2842989955756156E-2]
[348,0,8.9370979961210517E-2]
[349,0,8.5589009966470203E-2]
[350,0,8.2972909961727334E-2]
[351,0,7.947813996740119E-2]
[352,0,7.8056349968138664E-2]
[353,0,7.5212769969613597E-2]
[354,0,7.3449749965548955E-2]
[355,0,7.1601419965947308E-2]
[356,0,7.2337909970743713E-2]
[357,0,7.0546449969587616E-2]
[358,0,7.0631759965124635E-2]
[359,0,7.1996679965941626E-2]
[360,0,7.2966339966764285E-2]
[361,0,7.3734109971905507E-2]
[362,0,7.5582439962311454E-2]
[363,0,7.6517969963798588E-2]
[364,0,7.802791996678457E-2]
[365,0,7.7373899963467552E-2]
[366,0,7.6148309966838121E-2]
[367,0,7.5039309966090512E-2]
[368,0,7.3475339963649702E-2]
[369,0,7.1373929967232005E-2]
[370,0,6.9724659964991581E-2]
[371,0,6.6909509967820593E-2]
[372,0,6.4574929975376658E-2]
[373,0,6.1446989970495039E-2]
[374,0,6.0937989973609621E-2]
[375,0,5.7665019975754711E-2]
[376,0,5.6018589976767612E-2]
[377,0,5.3317179976487723E-2]
[378,0,5.1127619981279682E-2]
[379,0,4.9731419980117895E-2]
[380,0,4.8167449977677086E-2]
[381,0,4.6748499981667885E-2]
[382,0,4.6518169979699264E-2]
[383,0,4.5721969982399677E-2]
[384,0,4.3222459982734336E-2]
[385,0,4.4303029982127866E-2]
[386,0,4.3279329981179879E-2]
[387,0,4.3532409977995921E-2]
[388,0,4.3390229984013352E-2]
[389,0,4.3105869977656801E-2]
[390,0,4.3165589984288787E-2]
[391,0,4.2966539982664954E-2]
[392,0,4.2167489977178937E-2]
[393,0,4.2707769983604864E-2]
[394,0,4.2793079979141883E-2]
[395,0,4.2539999982325841E-2]
[396,0,4.182625998157255E-2]
[397,0,4.2707769983604864E-2]
[398,0,4.182625998157255E-2]
[399,0,4.2167489977178937E-2]
[400,0,4.1001629982918883E-2]
[401,0,4.1317259984687132E-2]
[402,0,4.0151399981231371E-2]
[403,0,4.0262289979131741E-2]
[404,0,3.8928649978659559E-2]
[405,0,3.8755189984332188E-2]
[406,0,3.8189319979805521E-2]
[407,0,3.7649039982575308E-2]
[408,0,3.7250939979327657E-2]
[409,0,3.7592169984129752E-2]
[410,0,3.7219659988178562E-2]
[411,0,3.693529998182201E-2]
[412,0,3.645188998303734E-2]
[413,0,3.5854739987361578E-2]
[414,0,3.4805459984050241E-2]
[415,0,3.5402609988921717E-2]
[416,0,3.4973229985329264E-2]
[417,0,3.4745739986613969E-2]
[418,0,3.3665179982957823E-2]
[419,0,3.3582719986411533E-2]
[420,0,3.304243998918132E-2]
[421,0,3.2075619982416273E-2]
[422,0,3.235996998383972E-2]
[423,0,3.2615899988842199E-2]
[424,0,3.1305009983217433E-2]
[425,0,3.1361879981662975E-2]
[426,0,3.0369469985992902E-2]
[427,0,2.9257629991187667E-2]
[428,0,3.0622549982808941E-2]
[429,0,2.9399809985170229E-2]
[430,0,2.837611998915535E-2]
[431,0,2.9030139983276658E-2]
[432,0,2.9513549991257038E-2]
[433,0,2.8717349984761741E-2]
[434,0,2.9004549985175914E-2]
[435,0,2.9655729985239604E-2]
[436,0,2.9371369988078763E-2]
[437,0,2.7781809987537209E-2]
[438,0,2.7440579991930815E-2]
[439,0,2.6925889983605639E-2]
[440,0,2.6925889983605639E-2]
[441,0,2.6527779984620595E-2]
[442,0,2.672682998624442E-2]
[443,0,2.7210249989962187E-2]
[444,0,2.763962998435893E-2]
[445,0,2.6669969992731975E-2]
[446,0,2.8464269987945701E-2]
[447,0,2.8208339992138932E-2]
[448,0,2.7807399985637953E-2]
[449,0,2.8091749987061401E-2]
[450,0,2.9004549985175914E-2]
[451,0,2.9058579989563842E-2]
[452,0,2.9598859986794054E-2]
[453,0,2.9345779989978015E-2]
[454,0,2.971259998368515E-2]
[455,0,2.9829189988762682E-2]
[456,0,3.0454769985792524E-2]
[457,0,3.0736289988895743E-2]
[458,0,3.1845289989643359E-2]
[459,0,3.0909749983223114E-2]
[460,0,3.1876569989988161E-2]
[461,0,3.2814949981270318E-2]
[462,0,3.4006409987759931E-2]
[463,0,3.3781769988035358E-2]
[464,0,3.5627249988646283E-2]
[465,0,3.5968479984252677E-2]
[466,0,3.6909709983721263E-2]
[467,0,3.7592169984129752E-2]
[468,0,3.8072729983923699E-2]
[469,0,3.9124859986225766E-2]
[470,0,4.0006369979062373E-2]
[471,0,4.126038998624159E-2]
[472,0,4.2992129980765702E-2]
[473,0,4.466983998009761E-2]
[474,0,4.6916279978684305E-2]
[475,0.97920200000000002,4.8053709980785994E-2]
[476,0.70176550000000004,5.1096339980934879E-2]
[477,0.4852089,5.2037569980403466E-2]
[478,0.48401329999999998,5.4992059977499397E-2]
[479,0.56980629999999999,5.6300099974937727E-2]
[480,0.71108660000000001,5.9174969969544987E-2]
[481,0.86095600000000005,6.0792959971440623E-2]
[482,1.0698749999999999,6.3721849974698416E-2]
[483,1.3459939999999999,6.5345539974575498E-2]
[484,1.6681820000000001,6.7901919972686381E-2]
[485,2.103955,7.0660199971411819E-2]
[486,2.5816970000000001,7.2454499966625535E-2]
[487,3.2244860000000002,7.418622996541227E-2]
[488,3.9445269999999999,7.7345459966376082E-2]
[489,4.8485259999999997,7.828099996360062E-2]
[490,5.9125940000000003,8.0871509961047028E-2]
[491,7.095542,8.2859169964836221E-2]
[492,8.5243040000000008,8.5788059958898322E-2]
[493,10.20722,8.7639229961753301E-2]
[494,12.18995,9.0681869957639577E-2]
[495,14.54477,9.309890998341265E-2]
[496,17.12979,9.7219269998093175E-2]
[497,20.157769999999999,9.9525399997708236E-2]
[498,23.533670000000001,0.10404389998019455]
[499,27.22775,0.10850829994215264]
[500,31.25619,0.11302959992655129]
[501,35.509210000000003,0.11769589999027673]
[502,40.04907,0.12454889993493785]
[503,44.653860000000002,0.13108919992548199]
[504,49.659469999999999,0.13839719995100561]
[505,54.465859999999999,0.14638479995462247]
[506,59.608640000000001,0.15511459991997173]
[507,64.627279999999999,0.16427099993365019]
[508,69.778080000000003,0.17399889993369641]
[509,74.291600000000003,0.1846309999010238]
[510,79.113590000000002,0.19543659993758519]
[511,83.079859999999996,0.2069815999339667]
[512,86.771889999999999,0.21904119989427542]
[513,90.179670000000002,0.23007139992002471]
[514,92.870980000000003,0.24295569989512741]
[515,95.062259999999995,0.25469969985007579]
[516,96.95232,0.2666114999130596]
[517,98.434520000000006,0.27679439990201121]
[518,99.468109999999996,0.28825119988413256]
[519,99.820769999999996,0.29661129991555035]
[520,100,0.30520179985472851]
[521,99.618549999999999,0.31259509984326894]
[522,98.58117,0.31902159988088902]
[523,97.275090000000006,0.32294289988901265]
[524,95.980270000000004,0.3261276998966024]
[525,94.283659999999998,0.32797889988666956]
[526,92.259990000000002,0.32843379982624393]
[527,90.394379999999998,0.32760639985886864]
[528,88.150949999999995,0.3270120998437922]
[529,85.964709999999997,0.32570399989951659]
[530,83.349100000000007,0.32459499987118184]
[531,80.760959999999997,0.3230565998845627]
[532,78.259200000000007,0.32373909982194227]
[533,75.459850000000003,0.32479399982974871]
[534,72.628630000000001,0.32706609981498941]
[535,70.062600000000003,0.33076269987655116]
[536,67.647760000000005,0.33679399981503561]
[537,65.061989999999994,0.34401669987754246]
[538,62.913890000000002,0.35476539979970617]
[539,60.53472,0.3663927997998182]
[540,58.3782,0.38123629979933954]
[541,56.18806,0.39699259987054114]
[542,54.147210000000001,0.41737829982590963]
[543,52.269480000000001,0.43893259978463478]
[544,50.57441,0.4643855998214369]
[545,48.986699999999999,0.49062899978063901]
[546,47.201590000000003,0.52091599975595682]
[547,45.731639999999999,0.55190819973998884]
[548,44.163670000000003,0.58779419973622049]
[549,42.742080000000001,0.62362619976125488]
[550,41.27572,0.66340789973498904]
[551,40.044600000000003,0.70318959970872319]
[552,38.737650000000002,0.74442159970414756]
[553,37.655090000000001,0.7843995996838673]
[554,36.460909999999998,0.82494899960062384]
[555,35.374519999999997,0.86305589961281115]
[556,34.306060000000002,0.89888219958468984]
[557,33.238799999999998,0.9303065997128328]
[558,32.291710000000002,0.9563538995807972]
[559,31.387540000000001,0.97751009938914335]
[560,30.29636,0.99209769922374302]
[561,29.287310000000002,1]
[562,28.365649999999999,0.99954509923281165]
[563,27.505990000000001,0.99235369952995278]
[564,26.58718,0.97711199960659278]
[565,25.79486,0.95478989956355709]
[566,25.075279999999999,0.92544409923266724]
[567,24.254860000000001,0.88995619957072891]
[568,23.297830000000001,0.84912229963372665]
[569,22.4909,0.80362209963299891]
[570,21.949210000000001,0.75468409969491734]
[571,21.066479999999999,0.70469669970352278]
[572,20.306159999999998,0.65225819970316001]
[573,19.487120000000001,0.60002159971260749]
[574,18.804459999999999,0.54713379977649512]
[575,18.159089999999999,0.49688769980218084]
[576,17.396560000000001,0.44754869984639106]
[577,16.725860000000001,0.40154239984484702]
[578,16.136289999999999,0.35766589988571229]
[579,15.49738,0.31668699986938315]
[580,14.921939999999999,0.27818489985001732]
[581,14.26831,0.24358129990202346]
[582,13.58558,0.2132373999042651]
[583,12.9392,0.1862802998812807]
[584,12.523389999999999,0.16182829993041889]
[585,11.936870000000001,0.14061229995643171]
[586,11.559760000000001,0.12238499999075371]
[587,11.1366,0.10666279991328406]
[588,10.649050000000001,9.3209809977050417E-2]
[589,10.29346,8.1354909964094307E-2]
[590,9.8939419999999991,7.080521996864772E-2]
[591,9.4684910000000002,6.2473519969763247E-2]
[592,9.1087019999999992,5.5304839980276924E-2]
[593,8.7305150000000005,4.9162709981533603E-2]
[594,8.4036419999999996,4.3873639982798023E-2]
[595,8.075037,3.9636699986364508E-2]
[596,7.7369890000000003,3.5203559987297892E-2]
[597,7.4239030000000001,3.2300259982140846E-2]
[598,7.2044680000000003,2.9513549991257038E-2]
[599,6.8770819999999997,2.6843419991321952E-2]
[600,6.6932960000000001,2.5336329992259793E-2]
[601,6.4199830000000002,2.3741069993736791E-2]
[602,6.2085999999999997,2.2461459988456826E-2]
[603,6.008928,2.0729719993932704E-2]
[604,5.747986,2.0530669992308882E-2]
[605,5.592822,1.9248209988038188E-2]
[606,5.3896129999999998,1.9219779995879822E-2]
[607,5.1101270000000003,1.8025469990399483E-2]
[608,5.0090589999999997,1.7459599995068523E-2]
[609,4.7978709999999998,1.6890879991551127E-2]
[610,4.6453170000000004,1.6290889992622033E-2]
[611,4.5237280000000002,1.5838759994182168E-2]
[612,4.3320360000000004,1.5779039996745896E-2]
[613,4.2044930000000003,1.5437809991943793E-2]
[614,4.0537200000000002,1.4815069988971573E-2]
[615,3.892725,1.4527869997753112E-2]
[616,3.7819699999999998,1.5125019993428872E-2]
[617,3.6367609999999999,1.5014119990595398E-2]
[618,3.573026,1.4243509991396557E-2]
[619,3.4075890000000002,1.3990429994580517E-2]
[620,3.3043979999999999,1.4104169991471613E-2]
[621,3.1337389999999998,1.4331659990186908E-2]
[622,3.0493610000000002,1.4132609997758791E-2]
[623,2.8967100000000001,1.4502269994719262E-2]
[624,2.794667,1.3902279995790166E-2]
[625,2.6887669999999999,1.3961989997489046E-2]
[626,2.5861860000000001,1.3532609993896594E-2]
[627,2.4390990000000001,1.3450149997350301E-2]
[628,2.3947379999999998,1.3532609993896594E-2]
[629,2.2797860000000001,1.3305129990918691E-2]
[630,2.167665,1.3191379998290204E-2]
[631,2.1089319999999998,1.2540199998226514E-2]
[632,2.0403169999999999,1.2850149993488102E-2]
[633,1.9712879999999999,1.31089199925482E-2]
[634,1.9243159999999999,1.2938299992278452E-2]
[635,1.859947,1.2963889990379198E-2]
[636,1.827836,1.3162949996936126E-2]
[637,1.6935579999999999,1.299232999666638E-2]
[638,1.673745,1.2963889990379198E-2]
[639,1.5848770000000001,1.2597069996672062E-2]
[640,1.559769,1.2767689996941809E-2]
[641,1.494936,1.3222659998635007E-2]
[642,1.4494039999999999,1.2739249990654629E-2]
[643,1.4208069999999999,1.2198969993424414E-2]
[644,1.3870610000000001,1.2622669990510201E-2]
[645,1.312907,1.2597069996672062E-2]
[646,1.256346,1.2651099991864277E-2]
[647,1.215865,1.225583999186996E-2]
[648,1.1841930000000001,1.3162949996936126E-2]
[649,1.1702840000000001,1.3052049994102652E-2]
[650,1.102231,1.2821719992134026E-2]
[651,1.0638970000000001,1.2597069996672062E-2]
[652,1.0569919999999999,1.2793279995042555E-2]
[653,1.010972,1.3134509990648946E-2]
[654,0.97971450000000004,1.2540199998226514E-2]
[655,0.93916029999999995,1.2938299992278452E-2]
[656,0.90190049999999999,1.2739249990654629E-2]
[657,0.88457589999999997,1.2679539998151461E-2]
[658,0.8243549,1.2767689996941809E-2]
[659,0.8167662,1.2426459992139708E-2]
[660,0.7988073,1.2767689996941809E-2]
[661,0.76066889999999998,1.236958999369416E-2]
[662,0.72955800000000004,1.2710819998496261E-2]
[663,0.71699159999999995,1.2540199998226514E-2]
[664,0.70803649999999996,1.2821719992134026E-2]
[665,0.69800779999999996,1.2710819998496261E-2]
[666,0.66104070000000004,1.2426459992139708E-2]
[667,0.67397309999999999,1.3251099995726476E-2]
[668,0.61963259999999998,1.3052049994102652E-2]
[669,0.6103847,1.2739249990654629E-2]
[670,0.61043349999999996,1.2793279995042555E-2]
[671,0.60177130000000001,1.2850149993488102E-2]
[672,0.55572699999999997,1.2426459992139708E-2]
[673,0.53440080000000001,1.2309869996257886E-2]
[674,0.52490890000000001,1.1968639991455787E-2]
[675,0.50880440000000005,1.2821719992134026E-2]
[676,0,0]
[677,0,0]
[678,0,0]
[679,0,0]
[680,0,0]
[681,0,0]
[682,0,0]
[683,0,0]
[684,0,0]
[685,0,0]
[686,0,0]
[687,0,0]
[688,0,0]
[689,0,0]
[690,0,0]
[691,0,0]
[692,0,0]
[693,0,0]
[694,0,0]
[695,0,0]
[696,0,0]
[697,0,0]
[698,0,0]
[699,0,0]
[700,0,0]
[701]
[702]
[703]
[704]
[705]
[706]
[707]
[708]
[709]
[710]
[711]
[712]
[713]
[714]
[715]
[716]
[717]
[718]
[719]
[720]
[721]
[722]
[723]
[724]
[725]
[726]
[727]
[728]
[729]
[730]
[731]
[732]
[733]
[734]
[735]
[736]
[737]
[738]
[739]
[740]
[741]
[742]
[743]
[744]
[745]
[746]
[747]
[748]
[749]
[750]
[751]
[752]
[753]
[754]
[755]
[756]
[757]
[758]
[759]
[760]
[761]
[762]
[763]
[764]
[765]
[766]
[767]
[768]
[769]
[770]
[771]
[772]
[773]
[774]
[775]
[776]
[777]
[778]
[779]
[780]
[781]
[782]
[783]
[784]
[785]
[786]
[787]
[788]
[789]
[790]
[791]
[792]
[793]
[794]
[795]
[796]
[797]
[798]
[799]
[800]
[801]
[802]
[803]
[804]
[805]
[806]
[807]
[808]
[809]
[810]
[811]
[812]
[813]
[814]
[815]
[816]
[817]
[818]
[819]
[820]
[821]
[822]
[823]
[824]
[825]
[826]
[827]
[828]
[829]
[830]
[831]
[832]
[833]
[834]
[835]
[836]
[837]
[838]
[839]
[840]
[841]
[842]
[843]
[844]
[845]
[846]
[847]
[848]
[849]
[850]
[851]
[852]
[853]
[854]
[855]
[856]
[857]
[858]
[859]
[860]
[861]
[862]
[863]
[864]
[865]
[866]
[867]
[868]
[869]
[870]
[871]
[872]
[873]
[874]
[875]
[876]
[877]
[878]
[879]
[880]
[881]
[882]
[883]
[884]
[885]
[886]
[887]
[888]
[889]
[890]
[891]
[892]
[893]
[894]
[895]
[896]
[897]
[898]
[899]
[900]
[901]
[902]
[903]
[904]
[905]
[906]
[907]
[908]
[909]
[910]
[911]
[912]
[913]
[914]
[915]
[916]
[917]
[918]
[919]
[920]
[921]
[922]
[923]
[924]
[925]
[926]
[927]
[928]
[929]
[930]
[931]
[932]
[933]
[934]
[935]
[936]
[937]
[938]
[939]
[940]
[941]
[942]
[943]
[944]
[945]
[946]
[947]
[948]
[949]
[950]
[951]
[952]
[953]
[954]
[955]
[956]
[957]
[958]
[959]
[960]
[961]
[962]
[963]
[964]
[965]
[966]
[967]
[968]
[969]
[970]
[971]
[972]
[973]
[974]
[975]
[976]
[977]
[978]
[979]
[980]
[981]
[982]
[983]
[984]
[985]
[986]
[987]
[988]
[989]
[990]
[991]
[992]
[993]
[994]
[995]
[996]
[997]
[998]
[999]
[1000]